## T-2421-45-06-01-01-002
SCHEDULE
Name of the work: Erection of 1 No.25 KVA DTR to release 14 KW Addl. Load on existing load 1 KW (PRINCIPAL/HEAD MASTER- KGBV) thus making total load 15 KW in operation section Gattu in Ieeza Sub Division of Gadwal Circle (WBS No. E-2023-45-01-12-01-010).
|  |  | Face Value |  | 107192
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10357 | ERECT. OF LINES-Providing of earthing | 3 | EA | 1234.2 | 3702.6
2 | SWR20102 | Erection of 11kv TT type AB switch | 1 | EA | 1813.49 | 1813.49
3 | SWR10395 | Erect. of 11kv HG Fuseset incl earthing | 1 | SET | 740.52 | 740.52
4 | SWR10463 | Erection of Three Phase DTRs | 1 | EA | 1139.95 | 1139.95
5 | SWR12490 | L-Run 11KV Jumpering to AB Switch | 1 | SET | 420.75 | 420.75
6 | SWR10674 | Erection of LT distribution box | 1 | EA | 1594.67 | 1594.67
7 | SWR21843 | Column type DTR Plinth topslab 4'x4'x6" | 1 | EA | 25967.57 | 25967.57
8 | SMR11487 | S-MS Bolts & Nuts,Washers etc., | 17 | KG | 91.25 | 1551.25
9 | SMR11484 | S-CI Pipe earthing 50mm dia 2m long | 3 | EA | 2441 | 7323
10 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 15 | KG | 105 | 1575
11 | SWR22356 | Laying of 1Core XLPE 120Sqmm Cable | 80 | M | 20 | 1600
12 | SWR11722 | Paint-Structure/DTR Code & Locaiton Name | 1 | EA | 110 | 110
13 | SWR11882 | DTR-Running Interlinking Earth Wire | 1 | KG | 82 | 82
14 | SWR23104 | Erect-11KV Seating Channel | 1 | EA | 131 | 131
15 | SWR11691 | Load-3Ph 25KVA DTR | 1 | EA | 252 | 252
16 | SWR11692 | UnLoad-3Ph 25KVA DTR | 1 | EA | 202 | 202
17 | SWR10336 | Erection of CT meter on LV side of DTRs | 1 | EA | 900 | 900
18 | SWR22092 | survey line&cabl inc peg mark&tree clear | 0.3 | KM | 765 | 229.5
19 | SWR20308 | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | 6 | EA | 407.29 | 2443.74
20 | SWR10107 | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | 6 | EA | 700 | 4200
21 | SWR10343 | ERECTION OF LINES-Erection of 9.1M Pole | 6 | EA | 2400 | 14400
22 | SWR10365 | Stringing of 55sqmm 33/11kv Line 3 Cond | 0.3 | KM | 8500 | 2550
23 | SWR21590 | Erection of 8.0Mts PSCC Poles for stuts | 3 | EA | 1500 | 4500
24 | SWR10356 | Mass concreting of supports incl. cement | 1.08 | M3 | 6579 | 7105.32
25 | SWIP1168 | Survey and tree clearance | 0.25 | LS | 637.52 | 159.38
26 | SWR20307 | SubTrnsprt 8M PSCC Pole incl. L&UL<10KM | 9 | EA | 271.52 | 2443.68
27 | SWR10105 | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | 9 | EA | 600 | 5400
28 | SWR10342 | ERECTION OF LINES-Erection of 8M Pole | 6 | EA | 1500 | 9000
29 | SWR21897 | Formation of LTCut point(Ver/ Hor)-1 ckt | 1 | EA | 853 | 853
30 | SWR10367 | Stringing of LT 3ph line 5 condu(34sqmm) | 0.25 | KM | 10191.12 | 2547.78
31 | SWR21190 | Excavate-StayPit .45x.45x1.34mSoil ex Hr | 2 | EA | 520 | 1040
32 | SWR10353 | Assembly and erection of Stay set11kv&LT | 2 | SET | 606.85 | 1213.7
GRAND TOTAL | [5 empty] | 107191.9
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10 km at his cost and above 10 km will be paid as per SSR.
2 | The required materials will be Supplied by the TGSPDCL on free of cost except which are not available matching materials in stores.
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2024-25 codes
6 | Agency which is excavating must use the CBUD App before commencing any excavation on public lands/roads in the state
Signature of the Contractor. |  |  |  | Superintending Engineer I/c
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M