## Contr1
SCHEDULE
Name of the work: Erection of 1No.Sph 25KVA DTR on 11KV Kyathur feeder eminating from 33/11KV SS Bheemvaram SS to electrification of 20 Nos.LT Cat-I each 1.0 KW to 2BHK, at sy.no 427 beside PHC Kyathur Village in Operation section Alampur in Alampur Sub Division in Gadwal Division WBS No.(F-2022-45-01-13-01-002) .
|  |  | Face Value |  |  | 114390
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10194 | LOADING of 15&25kva DTR | 1 | EA | 129 | 129
2 | SWR10512 | UNLOADING of 15&25kva DTR | 1 | EA | 129 | 129 | 3165.763
3 | SWR10462 | Erection of Single Phase DTRs | 1 | EA | 1117.6 | 1117.6
4 | SWR20102 | Erection of 11kv TT type AB switch | 1 | EA | 1777.94 | 1777.94
5 | SWR10395 | Erect. of 11kv HG Fuseset incl earthing | 1 | SET | 726 | 726
6 | SWR10357 | ERECT. OF LINES-Providing of earthing | 2 | EA | 1210 | 2420 | 13119
7 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | 10 | KG | 117.5 | 1175
8 | SWR10407 | Running of 11kv jumpering to AB switch.. | 1 | EA | 412.5 | 412.5
9 | SWR11332 | Paint-SC Nos on Poles Incl bkground | 20 | EA | 12 | 240
10 | SWR10674 | Erection of LT distribution box | 1 | EA | 1563.41 | 1563.41 |  | 53656.75
11 | SMR11484 | S-CI Pipe earthing 50mm dia 2m long | 2 | EA | 2441 | 4882
12 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 15 | KG | 105 | 1575
13 | SWR22356 | Laying of 1Core XLPE 120Sqmm Cable | 40 | M | 20 | 800
14 | SWR24831 | Construct-DTR Plinth CRS 5x4x8', 4' thck | 1 | EA | 10346.6 | 10346.6
15 | SWR23104 | Erect-11KV Seating Channel | 1 | EA | 131 | 131
16 | SWR11882 | DTR-Running Interlinking Earth Wire | 1 | KG | 82 | 82
17 | SWR11722 | Paint-Structure/DTR Code & Locaiton Name | 1 | EA | 110 | 110
18 | SWR10343 | ERECTION OF LINES-Erection of 9.1M Pole | 4 | EA | 2108 | 8432
19 | SWR10107 | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | 4 | EA | 491 | 1964
20 | SWR11066 | Stringing 6.3KV Line with 55 Sqmm Cond | 0.24 | KM | 2952.42 | 708.5808
21 | SWIP1168 | Survey and tree clearance | 0.24 | LS | 625 | 150
22 | SWR10356 | Mass concreting of supports incl. cement | 3.48 | M3 | 6450 | 22446
23 | SMR11487 | S-MS Bolts & Nuts,Washers etc., | 32 | KG | 91.25 | 2920
24 | SWR10653 | Formatn of Horiz Cut point for 11KV line | 1 | EA | 1323 | 1323
25 | SWR20307 | SubTrnsprt 8M PSCC Pole incl. L&UL<10KM | 23 | EA | 266.2 | 6122.6
26 | SWR10105 | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | 23 | EA | 424 | 9752
27 | SWR21590 | Erection of 8.0Mts PSCC Poles for stuts | 8 | EA | 1163 | 9304
28 | SWR20308 | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | 4 | EA | 399.3 | 1597.2
29 | SWR10342 | ERECTION OF LINES-Erection of 8M Pole | 15 | EA | 1163 | 17445
30 | SWR10458 | Stringing of AB cbl LT 3x16+25 Sqmm | 0.77 | KM | 3542.86 | 2728.0022
31 | SWR10488 | Release of 1Ph service | 20 | EA | 69 | 1380
32 | SWR22092 | survey line&cabl inc peg mark&tree clear | 0.77 | KM | 650 | 500.5
|  | GRAND TOTAL |  |  |  | 114389.933
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10km at his cost and above 0.10 to 5.00 km will be paid as per SSR.
2 | The required materials will be Supplied by the TSSPDCL on free of cost except which are not available matching materials in stores.
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2023-24 codes
Signature of the Contractor. |  |  |  | Superintending Engineer
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M

## Sheet1
1606.5
1500
3106.5
33379.81
13733.04
24403.5
71516.35
. | 68409.85

## Compatibility Report
Compatibility Report for T-2239-45-01-13-02-001.xls
Run on 1/20/2023 22:41
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
Some cells have overlapping conditional formatting ranges. Earlier versions of Excel will not evaluate all of the conditional formatting rules on the overlapping cells. The overlapping cells will show different conditional formatting. | 6
'Contr1'!B15:B38
'Contr1'!B8
Some cells contain conditional formatting with the 'Stop if True' option cleared. Earlier versions of Excel do not recognize this option and will stop after the first true condition. | 5
'Contr1'!B6:B38