## Contr1
SCHEDULE
Name of the work: E/s to 15KW Non-Domestic load to M/s. IOCL (SVN Filling Station) at Sy.No.177/1/1/2 at Yelkur (V) in Maldakal Section in operation Circle Gadwal WBS No.(E-2022-45-01-12-03-005)
|  |  | Face Value |  | 109548
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10357 | ERECT. OF LINES-Providing of earthing | 3 | EA | 1210 | 3630
2 | SWR20102 | Erection of 11kv TT type AB switch | 1 | EA | 1777.94 | 1777.94 | 3165.763
3 | SWR10395 | Erect. of 11kv HG Fuseset incl earthing | 1 | SET | 726 | 726
4 | SWR10407 | Running of 11kv jumpering to AB switch.. | 1 | EA | 412.5 | 412.5
5 | SWR10674 | Erection of LT distribution box | 1 | EA | 1563.41 | 1563.41
6 | SWR21843 | Column type DTR Plinth topslab 4'x4'x6" | 1 | EA | 25458.4 | 25458.4
7 | SMR11487 | S-MS Bolts & Nuts,Washers etc., | 11 | KG | 91.25 | 1003.75
8 | SWR10336 | Erection of CT meter on LV side of DTRs | 1 | EA | 900 | 900
9 | SMR11484 | S-CI Pipe earthing 50mm dia 2m long | 3 | EA | 2441 | 7323 |  | 53656.75
10 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 30 | KG | 105 | 3150
11 | SWR22356 | Laying of 1Core XLPE 120Sqmm Cable | 80 | M | 20 | 1600
12 | SWR11722 | Paint-Structure/DTR Code & Locaiton Name | 1 | EA | 110 | 110
13 | SWR11332 | Paint-SC Nos on Poles Incl bkground | 1 | EA | 12 | 12
14 | SWR11882 | DTR-Running Interlinking Earth Wire | 1 | KG | 82 | 82
15 | SWR23104 | Erect-11KV Seating Channel | 1 | EA | 131 | 131
16 | SWR10194 | LOADING of 15&25kva DTR | 3 | EA | 129 | 387
17 | SWR10512 | UNLOADING of 15&25kva DTR | 3 | EA | 129 | 387
18 | SWR10462 | Erection of Single Phase DTRs | 3 | EA | 1117.6 | 3352.8
19 | SWR22092 | survey line&cabl inc peg mark&tree clear | 0.4 | KM | 650 | 260
20 | SWR11180 | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | 2 | EA | 423.5 | 847
21 | SWR10109 | EXCAVATION OF PIT(3.0" x 3.0" x 7.6") | 2 | EA | 826.25 | 1652.5
22 | SWR10978 | Errection of 11 M long PSCC pole | 2 | EA | 4083.6 | 8167.2
23 | SWR20308 | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | 8 | EA | 399.3 | 3194.4
24 | SWR10107 | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | 8 | EA | 491 | 3928
25 | SWR10343 | ERECTION OF LINES-Erection of 9.1M Pole | 6 | EA | 2108 | 12648
26 | SWR10365 | Stringing of 55sqmm 33/11kv Line 3 Cond | 0.4 | KM | 8496.88 | 3398.752
27 | SWR21590 | Erection of 8.0Mts PSCC Poles for stuts | 1 | EA | 1163 | 1163
28 | SWR10356 | Mass concreting of supports incl. cement | 2.48 | M3 | 6450 | 15996
29 | SWR11083 | Erec of 9.1 Mts PSCC poles for stuts | 2 | EA | 2108 | 4216
30 | SWR20307 | SubTrnsprt 8M PSCC Pole incl. L&UL<10KM | 1 | EA | 266.2 | 266.2
31 | SWR10105 | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | 1 | EA | 424 | 424
32 | SWR10653 | Formatn of Horiz Cut point for 11KV line | 1 | EA | 1323 | 1323
33 | SWR11873 | Cutting Charges-MS Channel 75x40mm | 3 | EA | 9 | 27
34 | SWR10308 | FABR-Drilling of holes upto 20 mm dia 5 | 15 | EA | 2 | 30
|  | GRAND TOTAL |  |  |  | 109547.852
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10km at his cost and above 0.10 to 5.00 km will be paid as per SSR.
2 | The required materials will be Supplied by the TSSPDCL on free of cost except which are not available matching materials in stores.
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2023-24 codes
Signature of the Contractor. |  |  |  | Superintending Engineer
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M

## Sheet1
1606.5
1500
3106.5
33379.81
13733.04
24403.5
71516.35
. | 68409.85

## Compatibility Report
Compatibility Report for T-2239-45-01-13-02-001.xls
Run on 1/20/2023 22:41
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
Some cells have overlapping conditional formatting ranges. Earlier versions of Excel will not evaluate all of the conditional formatting rules on the overlapping cells. The overlapping cells will show different conditional formatting. | 6
'Contr1'!B15:B38
'Contr1'!B8
Some cells contain conditional formatting with the 'Stop if True' option cleared. Earlier versions of Excel do not recognize this option and will stop after the first true condition. | 5
'Contr1'!B6:B38