## Sheet1
Schedule for the work "Power evacuation facilitates of 2nos. 33kV feeders from EHT Bowrampet Sub-Station to Pragathi nagar Khamaan with M+9 towers DC line with 100Sqmm AAAC for tapping to existing 33/11kV Bachupally SS and for tapping to existing 33/11kV HMT hills SS and 1no. 33kV feeder from EHT Bowrampet SS to Bowrampet 33/11kV SS with 1Cx630Sqmm Aluminium 4 run cable in Medchal Operation circle in Masterplan Sub-division-2 of WCGH division of RR circle under T&D Improvement works"
1.CGM/MP Zone/DET/F.No./D.No.1434/ Dt: 07.11.2023.
2. WBS No. S-1653-13-04-02-01-001
Sl.No | Estimate Quantity(Only Figures) | PARTICULARS | Work Type | Item Short Description | SWR No/APSS/Morth cl.No | Rate (INR) (Upto 2 Decimals) | UOM | Amount
1 | 43 | Supply of M+3 Type Tower (Galvanized) | Elecy | Supply | SMR11683 | 140674.3 | EA | 6048994.9
2 | 86 | Supply of material for Extension of 3Mtrs for M+3 (Galvanized) | Elecy | Supply | SMR11684 | 28520.64 | EA | 2452775.04
3 | 43 | Erection of M+3 Tower (Galvanized) | Elecy | Labour | SWR11850 | 64576 | EA | 2776768
4 | 86 | Erection of Extension of 3Mtrs for M+3 (Galvanized) | Elecy | Labour | SWR11851 | 5168.95 | EA | 444529.7
5 | 40 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) M-Type Tower (1.2M x 1.2M x 3.3M ) 4.752cum | Elecy | Labour | SWR12090 | 3592.95 | EA | 143718
6 | 3 | Excavation of pits in hard rock requiring blasting. (other than SS) M-Type Tower (1.2M x 1.2M x 3.3M ) 4.752cum | Elecy | Labour | SWR12093 | 4810.58 | EA | 14431.74
7 | 100 | Laying of 8No's single core 630 sqmm UG cable(Double circuit with 2 Spare cables) including excavation of trench of size 0.7 Mtrs width and 1.2 Mtrs depth from road level, providing of DWC/GI pipes whereever required depth is not acquired as per the instructions of Engineer in Charge and filling with sand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protective slabs, back filling the trench with earth, levelling and and removing the debris from the site inluding the cost of lead and lift etc. In Hard Gravel Soil / BC soil / Red earth / stone and earth mixed with fair boulders / Normal soil | Elecy | Labour | SWR12118 | 4258.5 | M | 425850
8 | 150 | Laying of 4No's single core 630 sqmm UG cable (Single Circuit with one spare cable) including excavation of trench of size 0.7 Mtrs width and 1.2 Mtrs depth from road level, providing of DWC/GI pipes whereever required depth is not acquired as per the instructions of Engineer in Charge and filling with sand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protective slabs, back filling the trench with earth, levelling and and removing the debris from the site inluding the cost of lead and lift etc. In Hard Gravel Soil / BC soil / Red earth / stone and earth mixed with fair boulders / Normal soil | Elecy | Labour | SWR12110 | 2463.3 | M | 369495
9 | 24 | Supply of 33KV 1x630Sqmm OD Unit End Termination | Elecy | Supply | SMR12474 | 4200 | EA | 100800
10 | 24 | Install-33KV 1x630Sqmm OD Unit End Termination | Elecy | Labour | SWR12474 | 4000 | EA | 96000
11 | 4 | Supply&Erec of CI earth Pipe as APTRANCO Excavation of earth pit, supply of cast iron pipe with flange on one end (as per ISS7181/86) of nominal dia 125mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long complete as per APTRANSCO standards | Elecy | Labour | SWR10924 | 9804 | EA | 39216
12 | 2.4 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location. 100 Sqmm Double Circuit (6 Conductors) | Elecy | Labour | SWR10704 | 26255.98 | KM | 63014.352
13 | 1.6 | Dismantling of 100 Sqmm AAA/ACSR Conductor | Elecy | Labour | SWR22063 | 8274.75 | KM | 13239.6
14 | 1.6 | Restringing of existing loose Lines by removing the pin-binding and jumpers, Providing of temporary stays, providing stiffners pieces, replacement of damaged insulators, alignment of cross arms, pin binding and jumpering after tensioning and removing of the temporary stays complete . Restringing of 100 Sqmm Single ckt 3 conductors | Elecy | Labour | SWR11310 | 10000 | KM | 16000
15 | 1 | Loading of 33KV 800 Amps AB Switch | Elecy | Labour | SWR10239 | 126 | EA | 126
16 | 1 | Un loading of 33KV 800 Amps AB Switch | Elecy | Labour | SWR10557 | 79 | EA | 79
17 | 1 | Erection of 33 KV AB Switch including alignment and earthing | Elecy | Labour | SWR10392 | 4500 | EA | 4500
18 | 4 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation Erection of 5 Mts RS Joist (Bit) Pole including fixing of Pole Mounted Box | Elecy | Labour | SWR20863 | 1044.23 | EA | 4176.92
19 | 4 | LOADING of R.S. Joists 175 x 85 mm | Elecy | Labour | SWR10204 | 76 | EA | 304
20 | 4 | UNLOADING of R.S. Joists 175 x 85 mm | Elecy | Labour | SWR10522 | 50 | EA | 200
21 | 4 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Elecy | Labour | SWR10642 | 512.55 | EA | 2050.2
22 | 2.53 | LOADING of MS Channel,Angles,Flats&Rods | Elecy | Labour | SWR10206 | 221 | TO | 559.13
23 | 2.53 | UNLOADING of MS Channel,Angles,Flats&Rod | Elecy | Labour | SWR10524 | 185 | TO | 468.05
24 | 2.53 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 10 KM and upto 20 KM | Elecy | Labour | SWR10132 | 412.08 | TO | 1042.5624
25 | 16 | Formation of Cut point for 33 KV Double circuit line excluding pole erection and stays | Elecy | Labour | SWR10466 | 3198.72 | EA | 51179.52
26 | 4 | Excavation of pits in all soils except hard rock requiring blasting 11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M (1.31 cum) | Elecy | Labour | SWR10108 | 629.85 | EA | 2519.4
27 | 36 | Fixing of Side Arm along with Cross Arm including angle strut up to 5 feet 33KV | Elecy | Labour | SWR11270 | 486 | EA | 17496
28 | 3 | Supply & Providing of Panther T clamps. | Elecy | Labour | SWR20904 | 320 | EA | 960
29 | 5 | Loading of 11/33KV XLPE UG Cable for all sizes | Elecy | Labour | SWR11230 | 1024 | DR | 5120
30 | 5 | Unloading of 11/33KV XLPE UG Cable all sizes | Elecy | Labour | SWR11231 | 1024 | DR | 5120
31 | 3 | LOADING of Conductor drums | Elecy | Labour | SWR10191 | 202 | EA | 606
32 | 3 | UNLOADING of Conductor drums | Elecy | Labour | SWR10509 | 100 | EA | 300
33 | 6 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Above 30 Km and upto 50 Km with Lorry for each trip | Elecy | Labour | SWR11863 | 4372.74 | EA | 26236.44
34 | 12 | LOADING of 33 KV10 KA LAs Station type | Elecy | Labour | SWR10266 | 41 | EA | 492
35 | 12 | UNLOADING of 33 KV10 KA LAs Station type | Elecy | Labour | SWR10584 | 35 | EA | 420
36 | 4 | Erection of 33kv LA-3Nos Line type | Elecy | Labour | SWR20976 | 880 | SET | 3520
37 | 100 | Supply of Hot dip galvanized/zinc coated bolts & nuts including spring washers, pack washers and flat washers etc. | Elecy | Supply | SMR12488 | 90 | KG | 9000
38 | 2.4 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. Including the cost of cement | Elecy | Labour | SWR10356 | 6579 | M3 | 15789.6
39 | 21 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. Including the cost of cement | Elecy | Labour | SWR10356 | 6579 | M3 | 138159
40 | 1 | Submission of auto CAD Drawing as per pole schedule (Detailed survey and sketch) Up to 10 km | Elecy | Labour | SWR12104 | 6000 | LS | 6000
41 | 1 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Elecy | Labour | SWR12331 | 146.63 | EA | 146.63
42 | 1 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Elecy | Labour | SWR10881 | 142 | EA | 142
43 | 43 | Numbering of poles including cost of paint | Elecy | Labour | SWR10378 | 32 | EA | 1376
44 | 2000 | Cut-Tree Branch(LT/11/33)&Trnsprt Debris | Elecy | Labour | SWR23200 | 4 | EA | 8000
45 | 4 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Elecy | Labour | SWR10359 | 386 | EA | 1544
46 | 28 | Dismantle - Box poles 9/10/11 mtrs | Elecy | Labour | SWR11329 | 1130 | EA | 31640
47 | 1 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Note: 1). It will be treated as full load of 10 MT and paid for 10 MT. 2). For 3 Ton vehicle : 50% of the following rates Above 10 Km and upto 20 Km with Lorry for each trip | Elecy | Labour | SWR11861 | 3299.7 | EA | 3299.7
48 | 6.3 | LOADING of MS Scrap | Elecy | Labour | SWR10258 | 578 | TO | 3641.4
49 | 6.3 | UNLOADING of MS Scrap | Elecy | Labour | SWR10576 | 578 | TO | 3641.4
50 | 3.53 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. | Elecy | Supply | SMR40009 | 2181 | TO | 7698.93
51 | 3.53 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Elecy | Supply | SMR40010 | 1293 | TO | 4564.29
52 | 3.53 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Elecy | Labour | SWR10877 | 851 | TO | 3004.03
53 | 3.53 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium | Elecy | Labour | SWR10879 | 482 | TO | 1701.46
Total Amount | [7 empty] | 13371655.9944
GST 18% | [7 empty] | 2406898.079
Schedule Amount | [7 empty] | 15778554.0734