## Contr1
SCHEDULE
Name of the work: Erection of 1 No. 100 KVA DTR at Bharathnagar colony in Ieeza (T) in operation section Ieeza in Ieeza Sub-Division in Gadwal Division under T&D works.T-2323-45-01-12-02-001
|  |  | Face Value |  | 162618
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10357 | ERECT. OF LINES-Providing of earthing | 3 | EA | 1234.2 | 3702.6
2 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 15 | KG | 105 | 1575 |  | 3165.763
3 | SMR11487 | S-MS Bolts & Nuts,Washers etc., | 65 | KG | 91.25 | 5931.25 | 30,30
4 | SMR11483 | S-CI Pipe earthing 80mm dia 2.75m long | 3 | EA | 2789 | 8367
5 | SWR22356 | Laying of 1Core XLPE 120Sqmm Cable | 60 | M | 20 | 1200
6 | SWR20102 | Erection of 11kv TT type AB switch | 1 | EA | 1813.49 | 1813.49
7 | SWR10395 | Erect. of 11kv HG Fuseset incl earthing | 1 | SET | 740.52 | 740.52
8 | SWR11722 | Paint-Structure/DTR Code & Locaiton Name | 1 | EA | 110 | 110 |  | 2
9 | SWR10674 | Erection of LT distribution box | 1 | EA | 1594.67 | 1594.67
10 | SWIP1168 | Survey and tree clearance | 1.2 | LS | 637.5 | 765
11 | SWR20307 | SubTrnsprt 8M PSCC Pole incl. L&UL<10KM | 15 | EA | 271.52 | 4072.8 | 10 |  |  | 53656.75
12 | SWR10105 | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | 15 | EA | 600 | 9000 | 10
13 | SWR10365 | Stringing of 55sqmm 33/11kv Line 3 Cond | 1.2 | KM | 8500 | 10200
14 | SWR21590 | Erection of 8.0Mts PSCC Poles for stuts | 7 | EA | 1500 | 10500 | 2
15 | SWR20308 | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | 14 | EA | 407.29 | 5702.06
16 | SWR10107 | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | 14 | EA | 700 | 9800
17 | SWR10343 | ERECTION OF LINES-Erection of 9.1M Pole | 14 | EA | 2400 | 33600
18 | SWR10356 | Mass concreting of supports incl. cement | 2.7 | M3 | 6579 | 17763.3
19 | SWR10653 | Formatn of Horiz Cut point for 11KV line | 4 | EA | 1350 | 5400
20 | SWR11319 | Dismantle-8.0 m long PSCC pole | 12 | EA | 501.53 | 6018.36
21 | SWR10342 | ERECTION OF LINES-Erection of 8M Pole | 8 | EA | 1500 | 12000
22 | SWR11316 | Restring-LT 3-Ph 55Sqmm 5 Conduct | 0.55 | KM | 7200 | 3960
23 | SWR10705 | Stringing of LT 3ph line 5 condu(55sqmm) | 0.95 | KM | 9264.66 | 8801.427
|  | GRAND TOTAL |  |  |  | 162617.477
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10 km at his cost and above 10 km will be paid as per SSR.
2 | The required materials will be Supplied by the TSSPDCL on free of cost except which are not available matching materials in stores. | [7 empty] | v
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2023-24 codes
Signature of the Contractor. |  |  |  | Superintending Engineer
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M

## Sheet1
1606.5
1500
3106.5
33379.81
13733.04
24403.5
71516.35
. | 68409.85